Best Practices for Network-Level Training

1.  Scope and Introduction

This guideline provides partners in the Integrated Consortium of Laboratory Networks (ICLN) a common framework to develop and implement a training program for laboratory personnel encompassing the processes and procedures performed in their respective jobs and that can enable the efficient cross-training of network partners in analytical methods that measure a wide range of threat agents in various matrixes.  The ultimate goal of this guideline is to enable expansion of the capabilities and capacity of our nation to respond in the case of an actual incident.

All good quality systems rely on effective training to ensure that the laboratory personnel produce consistent, predictable, and high-quality results in the delivery of services.  In a quality environment, all training must be documented.  Systematic and consistent training are necessary to verify and document that learners have, and can demonstrate, the necessary knowledge, skills and behaviors to perform their respective duties.

2.  Definitions

Procedure – a specified way to carry out an activity of a process (ISO 17025 & 9000, 3.4.5)

Process – Set of interrelated or interacting activities that transform inputs into outputs (ISO 17025 & 9000, 3.4.1)

Training – Process to provide and develop knowledge, skills, and behaviors to meet requirements (ISO 17025 & 10015, 3.2)

3.  Education versus Training

For the purposes of this guideline, a distinction must be made between the education one receives in formal schooling versus the training one receives for a particular skill set.  The main difference is that education confers knowledge, whereas, training allows for assessment of the ability to perform a learned skill.  This guideline will concentrate on employment training, which is provided to employees who are new to the organization, new to a different job in the organization, required to learn new methods or tests that are being implemented in the organization, or providing support to another organization.  While the theory learned and basic skill set obtained by a given professional may not significantly change from one organization to another, the specific work processes, instrumentation, forms, computer systems, etc. are likely to differ.  In order to make an effective contribution to the workforce, new employees - whatever their experience levels - need to be trained in local processes and procedures.  Subsequently, the new employees must be assessed by demonstration of competence in these work processes and procedures.

3.1 When to Train

Training should be conducted at the following times:

- When a new analytical method or technology is validated and introduced into the national laboratory response system;

- For new personnel, to learn their respective work processes and procedures;

- To maintain accreditation or certification;

- For development and continuation of surge capacity capabilities within the Integrated Consortium of Laboratory Networks (ICLN);

- When national response is required for an emergency event involving the partners in the ICLN;

- For all personnel, when organizational or technological changes affect work processes; and,

- When training needs are identified (e.g. repeated problems or unsuccessful performance)

4.  Four-Stage Process of Training

The information located in Table 1 provides guidance for developing training for employees both new to the organization and those faced with changes to current work processes and procedures.  Training can be distilled into four stages:

Table 1

| STAGE | DESCRIPTION |
| --- | --- |
| - Training needs identified | Work processes, procedures, and learners for which training is needed are identified |
| - Training guides developed | Identification and development of: - Objectives (including performance measurements) - Methods; and - Materials - Trainers are identified and/or trained |
| - Training is implemented | Training is conducted |
| - Training outcomes evaluated and reported | Training effectiveness is evaluated Learner’s experience is evaluated Training is documented |

It is recommended by the NCG Training group that a final report of the training program, which addresses the four stages listed, be completed for each training program.  This report can be provided to upper management as informational, used as a budgeting tool, as a resource for annual reports, as guidance for future trainings, or as a record of what training has been presented.

4.1 Training Needs Identified

Identification of training needs entails more than a checklist of procedures performed in a given job.  Hardly ever does a laboratory job consist of a person performing a single procedure in isolation of all the other procedures.  Real work is a sequence and linking of several distinct activities in the order needed to achieve the desired outcome – this is known as a work process.

Identifying training needs consists of defining:

- Work processes performed in a given job;

- Procedures performed in each work process; and

- Policies that apply to work processes and procedures.

Training needs shall be documented.  A checklist of the work processes and procedures to be performed in a given job can be used for this.

4.2 Training Guides Developed

A training guide consists of the following elements:

- Objectives for the training;

- Identification of the methods to be used in training;

- Identification of the materials to be used in the training; and

- Criteria to assess the effectiveness of the training.

    - Learning Objectives

Learning objectives are the expectations for training outcomes that can be observed or assessed.  Learning objectives for training are of two types:

- Cognitive: assess knowledge (example: describe the chemical reaction in this analysis)

- Psychomotor:  assess physical skills (example: pipette sample into cuvette)

    - Training Methods

Training methods include, but are not limited to, one or more of the following as applicable to the work process for which training is being conducted:

- Instructor-led hands-on training;

- Lecture;

- Use of computer-based exercises;

- Self-study;

- Observance of demonstration – live or videotaped;

- Practice under supervision;

- Self-assessment of practice outcomes; and,

- Testing or identification of specially provided samples.

The NCG Training Group has identified the following training models that could be adapted to achieve laboratory network training needs:

A.  Instructor Led Hands-On Model:

This training is best conducted with a maximum amount of hands-on and enough lecture to be able to understand the practice and principles of the analysis method and how to perform it accurately and safely.  This generally requires a lab-to-lecture ratio of approximately 3:1 and the learners performing all aspects of the analysis at least twice during the course.  Lecture sessions can be supplemented with video or demonstration segments.  Typically courses will be a minimum of two days to provide adequate time to complete the activities in sufficient detail.  The course description, content, specific topic module and overall course content recommendations are listed in Section 4.2.3.

B.  E-Learning Model:

USC Title 29, §794D, Section 508 compliance is required for all federal agencies and anyone who receives federal funding.  Under Section 508, agencies must give disabled employees and members of the public access to information that is comparable to the access available to others.  The law requires that agencies make their electronic and information technology accessible to people with disabilities.

    - Identification of Training Materials

Training materials include all items to be used during the delivery of the training. Table 2 below briefly describes the purpose of various types of training materials.

Table 2

| Training Materials | Purpose |
| --- | --- |
| References (text, articles) Operator’s manuals Manufacturer’s instructions | Provides background, theory, principle, and applications |
| Documented work process (usually in the procedure manual) | Describes the sequence of the activities for which training will take place |
| Documented procedures (usually in the procedure manual) | Provides detailed instructions for how to perform each activity in the process |
| Lecture handouts | Provides notes reflecting key information about the process |
| Computer-based programs Self-study programs Videotapes | Provides the learner with self-paced introduction to new information |
| Practice materials | Provides samples on which to practice new skills, e.g. specimens, instruments, forms, information systems, databases |

Training materials should contain the following modules:

Content page/course description, including:

- Course description

- Course objective

- Need for method

- Required equipment, instrumentation and supplies

- Recommended education, training and experience

- List of all modules

- Approximate time to completion

- Definition of successful completion

- Learner log-in

Specific Topic Modules (as appropriate)

- Laboratory safety

- Sample collection, and chain of custody if appropriate

- Sample storage

- Sample preparation

- Instrument preparation and calibration

- Sample Analysis and data collection

- Data reduction

- Data reports and quality control

Each module will contain all critical information for the performance of the specific part of the analysis and may contain supplementary information about important but not critical aspects of the topic.

Each module will contain a module specific evaluation designed to permit the learner to self-assess the effectiveness of information transfer before proceeding to the next module.

Review and Knowledge Transfer Assessment:

- Review of the critical components of each Topic Module in outline format

- An assessment tool that will be used to evaluate the effectiveness of knowledge transfer and qualification of learners to begin a method validation exercise.

Certificate of Completion Form:

- A printable/reportable form for use in verifying course completion should be provided.

4.3  Implementation of Training

4.3.1. Trainer Qualifications

Trainers need to be qualified to impart the necessary knowledge and skills to others.  Trainers themselves should regularly work in the processes and perform the procedures in which they instruct others.  Ideal attributes of a qualified trainer include:

- Interested in training;

- Commitment to technical training;

- Education and/or experience in adult learning;

- Continuing education in relevant science;

- Enthusiasm for working with people;

- Good verbal, listening and observational skills;

- Patience; objectivity;

- Respect of and for colleagues;

- Previous experience; and

- Subject matter expert.

4.3.2  Conducting Training

Prior to conducting the training, the trainer should have prepared curriculum, materials, and resources to successfully implement the training with measurable results.

The learner should be provided with appropriate materials for review prior to the course.  The learner should be allowed to practice in a “safe” environment where he or she is not punished for mistakes, there is time to learn and digest the information obtained and activity learned, and the learner can adapt to the new learning.  Whenever possible, training should take place in the area where the work is actually performed or on the same instruments and methods to be used at another site so that the learner can observe the actual work process and procedures.

4.3.2.1. Performance Standards

Performance standards are statements of expected results or behaviors that specify the quantity and quality of work necessary to contribute to the work area’s objectives.  Performance standards should be communicated to the learner when training is initiated so that they are clear about the results or behaviors expected.

Developing competency levels can provide a method of defining the level of learning and practice expectations of the learner.   One model that can be used follows. The training objective of this model is to move the learner from either A or B to K.

| Competency Level | Description |
| --- | --- |
| A - Awareness | Familiarity. Learner is able to identify the concept or skill but does not have ability to perform them. Can explain the process and describe their role within the process |
| B - Basic | Basic. Learner possesses the laboratory skills necessary to perform an analysis using appropriate tools but not a specific procedure. Able to: Perform routine laboratory functions Operate relevant equipment and instrumentation |
| K - Knowledge | Intermediate. Learner is able to apply and describe the skills necessary to perform a procedure. Able to: Perform the procedures as written without direct supervision Document and record all test and quality control results Detect procedure performance failures and deviations |
| P - Proficient | Advanced. Learner is able to supervise, critique or teach a skill. Able to: Supervise others in the performance of the procedure Provide informal training to others in the performance and understanding of the procedure Troubleshoot and resolve procedure performance failures and deviations Validate and implement new procedures |
| E – Expert | Advanced. Learner is able to supervise, teach and expand the skill. Able to: Develop, validate and implement new procedures Develop and/or deliver formal training products or act as subject matter expert for the development of formal training products. |

4.4  Training Outcomes Evaluated

Evaluation of training programs should be conducted at three levels represented by the following questions:

4.4.1   Did the learner like the training experience?

Learners should be given the opportunity to provide feedback on the training experience to determine where there might be opportunities for improvement to the training guides, trainers, and training events.

4.4.2   Did the learner learn and understand the materials?

Assessment of the learner’s competence after training is a means of determining the ability of the individual to use the newly acquired skills in the workplace.

4.4.2.1  Methods to determine competency:

4.4.2.1.1  Initial competence Assessment

The assessment should challenge both the cognitive and psychomotor skills needed to perform the process and related procedures and verify that the learning objectives stated in the training guide have been met.  Criteria against which learners are assessed need to be predetermined and verified before using an assessment activity to confirm their ability to perform a process or procedure.

4.4.2.1.2  Cognitive Assessment

Assessments of learner’s cognitive skills with respect to a particular process or procedure can be determined by oral or written tests.

4.4.2.1.3   Psychomotor Assessment

The best measure of training is observation of the learner’s successful performance of the task on which they were trained.  A direct observation checklist can be used first by the learner to self-assess progress during practice sessions of the activities in a process or steps in a procedure.  The observer then uses the checklist to follow along and document the learner’s performance of the process or procedure.  If the performance is not satisfactory, the learner should be given more time to practice or be re-trained.  At the conclusion to the observation, the observer must document whether the learner met the requirements, whether or not review or additional training is needed and any applicable comments.

4.4.3.   Were the skills learned transferred to the workplace and assessed?

The effectiveness of training, and whether the skills learned were transferred to the workplace, can be inferred through any of the following means:

- Quality indicators such as proficiency testing;

- Quality audits;

- Trends and patterns of occurrence; and

- Customer/client feedback.

There are several ways that can be used to assess and document ongoing competence and evaluate additional training needs.

- Direct observation of routine work processes and procedures;

- Direct observation of equipment maintenance and function checks;

- Monitoring the recording and reporting of results;

- Reviewing work records, including performance while running quality control materials;

- Assessment of problem-solving skills; and

- Performance of given procedure using specially provided materials (e.g. proficiency testing, blind samples, previously analyzed material)

5.   Documentation of Training

Documentation of training is required.  The network must provide an effective means of documenting and tracking each learner’s training.  Training records can include checklist(s) of processes and procedures, written test(s) and direct observation checklist(s) completed by the observer.  Documentation should contain the course title, the course date(s), the signature of the trainer and the name of the learner.

6.   Resources

ICLN NCG Training Subgroup Face-to-Face Discussions, March 2009, March 2010

CLSI GP21-A2, “Training and Competence Assessment; Approved Guideline – Second Edition”, April 2004

Assessing Training Needs, E. Rosner, Ed. D.

Learner-focused Educational Activities Integrating Instructional Elements, J. R. Willis, Ph. D.

SOP-FADDL-9019.01  “Training Process for “Train the Trainer””, P. S. Glas, Ph. D.  March 2010.